## Electricity
Metric | Unit | UK Power Networks | Electricity North West Limited | Northern Powergrid | Scottish and Southern Energy | ScottishPower Energy Networks | Western Power Distribution (National Grid) | Northern Ireland Electricity Networks
Transport
Dedicated tariffs for EV charging | [Yes/No] | No info | No info | No info | No info | No info | No info | No info
V2G piloting and other uses for EV batteries within the grid | [Number of projects per each technology] | A "number" of V2G trials for domestic, fleet and bus operators. Smart Connect portal to assess options and applications | Chargepoints technical specifications mentioned | No info | No info | No info | 1 Trial program open, to recruit V2G users by offering the free installation of smart chargers (worth £5,500 to Nissan EV drivers) in the covered region. | No info
Active EV load management and optimization | [Number of projects] | No info | No info | No info | No info | No info | No info | No info
Heating
Programs or systems dedicated to managing the increased penetration of heat pumps in the grid | [Yes/No] + [Number of users connected to the grid] | Assistance for projects (local authorities, business) | The website showcases a 2016 analysis of domestic heat pumps, developed with Imperial College. | No info | No info | No info | Website includes a "Guide on Heat Pumps and DNO Engagement with Local Authorities or Building Owners" | No info
Grid level facilitation of dual energy systems | [Yes/No] + [Number of users using dual energy systems] | No info | No info | No info | No info | No info | No info | No info
Flexibility and Storage
Integration of smart meter functionalities for flexibility purposes including real time information on power flows and location dynamic tariffs | [Yes/No] & [Yes/No] | No specifc info | No specifc info | No specifc info | No specifc info | No specifc info | No specifc info | No specifc info
Platform for smart meter data sharing with third parties (e.g. suppliers, aggregators), to ensure interoperability of customers’ data | [Yes/No] | No info on customers’ data | No info on customers’ data | No info on customers’ data | No info on customers’ data | No info on customers’ data | No info on customers’ data | No info on customers’ data
Demand response and flexibility services at DSO level | [Yes/No] + [MWh auctioned/contracted] | For 2022/2023 (Total of: Sustain, Secure, Dynamic, Restore tenders): - Tendered 950 MW - Contracted 634 MW | For 2022/2023 (Total of: Sustain, Secure, Dynamic, Restore tenders): - Tendered 489 MW - Contracted 3 MW | No for 2022/2023 | No for 2022/2023 | For 2022/2023 (Total of: Sustain, Secure, Dynamic, Restore tenders): - Tendered 245 MW - Contracted 14 MW | For 2022/2023 (Total of: Sustain, Secure, Dynamic, Restore tenders): - Tendered 1509 MW - Contracted 440 MW | No info
The procurement of constraint management and reactive power at DSO level | [Yes/No] + [MWh auctioned/contracted] | No | No | No | No | For 2022/2023: - Tendered 11 MVAr - Contracted 0 MVAr | No | No info
Reverse flow points between DSO and TSO | [Number] | No info | No info | No info | No info | No info | No info | No info
Non-wire alternatives | [Yes/No] | No specific mention of NWAs, but general considerations on distributed generation, energy effiiciency, demand response etc solutions for managing increased network challenges
Indicative planning
Updated indicative planning process taking into account the increased penetration of DERs and their potential contribution to system optimization | [Yes/No] | Regular investment plans [required by regulator] + different vision/long-term statements, plans
Innovation
Percentage of OPEX dedicated to decarbonization relevant innovation activities | [%] | In 2020-2021 DNO groups spent £25.2m, 83% of the yearly allowances. Equivalent of 0,11% of TOTEX expenditure. | [5 empty] | No specific info
Decarbonization relevant innovation activities that have become business-as-usual | [Number] | 50 innovative solutions became everyday busines, since the beginning of the RIIO-ED1, translating into savings of £283.6 million. | No specifc info on the website | No specifc info on the website | 2 innovation projects became business as usual in 2019-2020. This generated £236k gross benefit in 2019/20 + avoided approximately 2,200 tCO2e (versus traditional diesel-based alternatives). | No specifc info on the website | No specifc info on the website | No specifc info on the website
Sources
https://www.ukpowernetworks.co.uk/electricity/electric-vehicle-charging-point/vehicle-to-grid
https://www.enwl.co.uk/get-connected/apply-for-a-new-connection/electric-vehicles2/single-ev/
https://www.nationalgrid.co.uk/news-and-events/latest-news/electric-nation-vehicle-to-grid-v2g-trial-opens
https://www.ukpowernetworks.co.uk/electricity/installing-an-electric-heat-pump
https://www.enwl.co.uk/go-net-zero/innovation/smaller-projects/network-innovation-allowance/enwl001---demand-scenarios/heat-pumps/
https://www.nationalgrid.co.uk/downloads-view-reciteme/273052
https://www.energynetworks.org/assets/images/Resource%20library/ON22-WS1A-P0%20Flexibility%20Figures%202022_2023.xlsx
https://www.ofgem.gov.uk/sites/default/files/2022-03/RIIO-ED1%20Network%20Performance%20Summary%202020-21.pdf
https://www.ofgem.gov.uk/publications/riio-1-electricity-distribution-annual-report-2020-21
https://annualreview2021.ukpowernetworks.co.uk/annualreview2021/static/pdf/ukpn-annual-review-2021.37f92f2b.pdf
https://ssen-innovation.co.uk/wp-content/uploads/2021/06/SSEN-Environment-Report_2020-v4_lr.pdf

## Gas
Metric | Unit | SGN South of England / Scotland | Cadent (London, WM, EE) | Northern Gas Networks | Wales &West Utilities | Northern Ireland (Phoenix, Firmus, SGN)
Transport
Operation or facilitation of low carbon gases fueling stations connected to the grid | [Number of stations connected to the grid] | No info | 0. However, plans to provide the backbone of a network of biomethane filling stations. Pilot project for hydrogen for transport (Hy4Transport). | 0. HyPark project explored fuel cells connected to gas grid to charge EV where network is constrained. | 0. The business plan mentions a timeline for biogas and hydrogen filling stations. | No info
Heating
Grid level facilitation of dual energy systems | [Yes/No] + [Number of users using dual energy systems] | No info | No info | No investment, but plans to enable heat pumps and dual energy. | Smart hybrid system - heat pumps plus gas in the trial and study phase. | No info
The percentage of low carbon gases injected and/or blended in the grid defined as: total volumes of low carbon gas divided by total volumes of gas delivered through the grid in one calendar year. | [%] | connected 35 biomethane plants to network. Scotland: 535,364 kWh (2021-2022) South: 0 | biomethane: connected 42 biomethane sites to network (19.36 TWh cumulated total since 2013) hydrogen: HyNet blending pilot and plans for dedicated hydrogen pipelines, production sites and storage facilities. | 17 biomethane sites in network Pilot hydrogen blending at Keele University. 668 homes in Winlaton used 20% hydrogen blend in public gas network. Hydrogen home in Gateshead using 100% hydrogen boliers/cookers | 600 Standard cubic metres per hour; total number of biomethane sites to 20 delivering 1.87 TWh of green gas into our network; transported 707.4 GWh of green gas in 2021/22 | 0. Plans to introduce it in 2023
Flexibility and Storage
DSO level power to gas projects for flexibility | [Number] | 2 H100 Fife pilot project - green hydrogen from offshore wind and hydrogen network for 300 homes. East Neuk Power to Hydrogen pilot. | 1 Pilot projects and planned expansions for hydrogen production and distribution. | Trials for 100% hydrogen grid and storage in unoccupied networks. | total number of biomethane sites to 20 delivering 1.87 TWh of green gas into network | Plans to start pilots in 2023
Non-pipeline alternatives | [Yes/No] | No info | No info | No info | No info | No info
Indicative planning
Updated indicative planning process taking into account injections of low-carbon gases and electrification with a view for optimizing CAPEX between electricity and gas for system decarbonization | [Yes/No] | Yes. LTDS - 10 years includes gas decarbonisation and integration with electricity. Business plan from 2019 mentions plans for 100% hydrogen pilot and incrased biomethane. | Yes [10 year plan focuses on decarbonisation, hydrogen, biomethane and takes a whole energy perspective optimising electricity and gas]. Business plan for 2019 features biomethane and hydrogen. It also argues for a joint electricity and gas planning office. | Yes. LTDS includes biomethane, hydrogen and integration with power. The 2021 businessp plan includes hydrogen, biomethane and a dedicated chapter on uncertainty management, calling for flexibility in planning and pricing based on changing circumstances. | Yes [10 year plan includes decarbonisation and electrification as main features]. The 2021 business plan features a timeline for hydrogen, biogas, and enabling electrification. | Yes, strategy document presents plans to inject hydrogen, biomethane.
Innovation
Percentage of OPEX dedicated to decarbonization relevant innovation activities | [%] | Spending amounts not published. | RIIO 1+RII02 cummulative: 60.3 million (NIA) - no split by theme | 612k for 2021-2022 allocated to energy system transition (NIA) | 1.5 million in 2021-2022 for decarbonisation & environment | No info
Decarbonization relevant innovation activities that have become business-as-usual | [Number] | No info | No info | No info | No info | No info
Sources
https://www.sgn.co.uk/about-us/future-of-gas
https://www.sgn.co.uk/about-us/future-of-gas/biomethane
https://www.sgn.co.uk/about-us/our-environment-strategy
https://www.sgn.co.uk/reports-publications#Biogas
https://sgn.co.uk/sites/default/files/media-entities/documents/2021-04/SGN%20-%20Building%20a%20Shared%20Net%20Zero%20Future%20-%20April%202021_0.pdf
https://www.sgn.co.uk/sites/default/files/media-entities/documents/2022-07/SGN-RIIO-GD2-Business-Plan-Executive-summary.pdf
https://cadentgas.com/about-us/innovation/a-culture-of-innovation
https://cadentgas.com/future
https://cadentgas.com/future-of-gas/hydrogen-village
https://cadentgas.com/riio-for-2050
https://cadentgas.com/future-of-gas/hydrogen
https://documents.cadentgas.com/view/852427184/2/#zoom=true
https://cadentgas.com/nggdwsdev/media/Downloads/business-plan/Cadent_BusPlan_PART3_02_NC.pdf
https://cadentgas.com/nggdwsdev/media/Downloads/business-plan/Cadent_BusPlan_PART3_06_NC.pdf
https://www.northerngasnetworks.co.uk/wp-content/uploads/2019/12/An-overview-of-our-business-plan-2021-2026.pdf
https://www.northerngasnetworks.co.uk/wp-content/uploads/2019/12/NGN-RIIO-GD2-Business-Plan-2021-2026.pdf
https://www.wwutilities.co.uk/media/4317/2022-long-term-development-statement.pdf
https://www.wwutilities.co.uk/media/3567/3-wwu-business-plan-december-2019.pdf
https://www.firmusenergy.co.uk/images/uploads/documents/13810.001-20pp-Pathway-to-Net-Zero-WEB.pdf

## Score - Electricity
Metric | Unit | UK Power Networks | Electricity North West Limited | Northern Powergrid | Scottish and Southern Energy | ScottishPower Energy Networks | Western Power Distribution (National Grid) | Northern Ireland Electricity Networks | no data available | low/medium data availability | high data availability
Transport
Dedicated tariffs for EV charging | [Yes/No] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | Dedicated tariffs for EV charging
V2G piloting and other uses for EV batteries within the grid | [Number of projects per each technology] | 2 | 4 | 1 | 1 | 1 | 3 | 1 | 4 | 2 | 1 | V2G piloting and other uses for EV batteries within the grid | 1 | no data available
Active EV load management and optimization | [Number of projects] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | Active EV load management and optimization | 2 & 3 | low/medium data availability
Heating | [12 empty] | 4 & 5 | high data availability
Programs or systems dedicated to managing the increased penetration of heat pumps in the grid | [Yes/No] + [Number of users connected to the grid] | 3 | 3 | 1 | 1 | 1 | 4 | 1 | 4 | 2 | 1 | Programs or systems dedicated to managing the increased penetration of heat pumps in the grid
Grid level facilitation of dual energy systems | [Yes/No] + [Number of users using dual energy systems] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | Grid level facilitation of dual energy systems
Flexibility and Storage
Integration of smart meter functionalities for flexibility purposes including real time information on power flows and location dynamic tariffs | [Yes/No] & [Yes/No] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | Integration of smart meter functionalities for flexibility purposes including real time information on power flows and location dynamic tariffs
Platform for smart meter data sharing with third parties (e.g. suppliers, aggregators), to ensure interoperability of customers’ data | [Yes/No] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | Platform for smart meter data sharing with third parties (e.g. suppliers, aggregators), to ensure interoperability of customers’ data
Demand response and flexibility services at DSO level | [Yes/No] + [MWh auctioned/contracted] | 4* | [5 empty] | 1 | 1 | 0 | 6 | Demand response and flexibility services at DSO level
The procurement of constraint management and reactive power at DSO level | [Yes/No] + [MWh auctioned/contracted] | 1 | 1 | 1 | 1 | 4* | 1 | 1 | 6 | 0 | 1 | The procurement of constraint management and reactive power at DSO level
Reverse flow points between DSO and TSO | [Number] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | Reverse flow points between DSO and TSO
Non-wire alternatives | [Yes/No] | 1 | [6 empty] | 7 | 0 | 0 | Non-wire alternatives
Indicative planning
Updated indicative planning process taking into account the increased penetration of DERs and their potential contribution to system optimization | [Yes/No] | 3 | [6 empty] | 0 | 7 | 0 | Updated indicative planning process taking into account the increased penetration of DERs and their potential contribution to system optimization
Innovation
Percentage of OPEX dedicated to decarbonization relevant innovation activities | [%] | 3* | [5 empty] | 1 | 1 | 6 | 0 | Percentage of OPEX dedicated to decarbonization relevant innovation activities
Decarbonization relevant innovation activities that have become business-as-usual | [Number] | 3 | 1 | 1 | 3 | 1 | 1 | 1 | 5 | 2 | 1 | Decarbonization relevant innovation activities that have become business-as-usual
* data gathered from other bodies (e.g. OFGEM), aggregated for all operators
Scoring methodology
|  |  | 1 | No info available/found
|  |  | 2 | Low detailed information/low availability
|  |  | 3 | Moderate detailed information/ moderate availability
|  |  | 4 | High detailed information/high availability
|  |  | 5 | Very high detailed information/very high availability
| no data available | low/medium data availability | high data availability
[TRANSPORT] Dedicated tariffs for EV charging | 7 | 0 | 0
[TRANSPORT] V2G piloting and other uses for EV batteries within the grid | 4 | 2 | 1
[TRANSPORT] Active EV load management and optimization | 7 | 0 | 0
[HEATING] Programmes or systems dedicated to managing the increased penetration of heat pumps in the grid | 4 | 2 | 1
[HEATING] Grid level facilitation of dual energy systems | 7 | 0 | 0
[FLEXIBILITY & STORAGE] Integration of smart meter functionalities for flexibility purposes including real time information on power flows and location dynamic tariffs | 7 | 0 | 0
[FLEXIBILITY & STORAGE] Platform for smart meter data sharing with third parties (e.g. suppliers, aggregators), to ensure interoperability of customers’ data | 7 | 0 | 0
[FLEXIBILITY & STORAGE] Demand response and flexibility services at DSO level | 1 | 0 | 6
[FLEXIBILITY & STORAGE] The procurement of constraint management and reactive power at DSO level | 6 | 0 | 1
[FLEXIBILITY & STORAGE] Reverse flow points between DSO and TSO | 7 | 0 | 0
[FLEXIBILITY & STORAGE] Non-wire alternatives | 7 | 0 | 0
[INDICATIVE PLANNING] Updated indicative planning process taking into account the increased penetration of DERs and their potential contribution to system optimization | 0 | 7 | 0
[INNOVATION] Percentage of OPEX dedicated to decarbonization relevant innovation activities | 1 | 6 | 0
[INNOVATION] Decarbonization relevant innovation activities that have become business-as-usual | 5 | 2 | 1

## Score - Gas
Metric | Unit | SGN South of England / Scotland | Cadent (London, WM, EE) | Northern Gas Networks | Wales &West Utilities | Northern Ireland (Phoenix, Firmus, SGN) | no data available | low/medium data availability | high data availability
Transport
Operation or facilitation of low carbon gases fueling stations connected to the grid | [Number of stations connected to the grid] | 1 | 2 | 2 | 2 | 1 | 2 | 3 | 0 | Operation or facilitation of low carbon gases fueling stations connected to the grid
Heating
Grid level facilitation of dual energy systems | [Yes/No] + [Number of users using dual energy systems] | 1 | 1 | 3 | 3 | 1 | 3 | 2 | 0 | Grid level facilitation of dual energy systems
The percentage of low carbon gases injected and/or blended in the grid defined as: total volumes of low carbon gas divided by total volumes of gas delivered through the grid in one calendar year. | [%] | 4 | 4 | 4 | 4 | 2 | 0 | 1 | 4 | The percentage of low carbon gases injected and/or blended in the grid defined as: total volumes of low carbon gas divided by total volumes of gas delivered through the grid in one calendar year.
Flexibility and Storage
DSO level power to gas projects for flexibility | [Number] | 3 | 3 | 3 | 3 | 2 | 0 | 5 | 0 | DSO level power to gas projects for flexibility
Non-pipeline alternatives | [Yes/No] | 1 | 1 | 1 | 1 | 1 | 5 | 0 | 0 | Non-pipeline alternatives
Indicative planning
Updated indicative planning process taking into account injections of low-carbon gases and electrification with a view for optimizing CAPEX between electricity and gas for system decarbonization | [Yes/No] | 4 | 4 | 4 | 4 | 3 | 0 | 1 | 4 | Updated indicative planning process taking into account injections of low-carbon gases and electrification with a view for optimizing CAPEX between electricity and gas for system decarbonization
Innovation
Percentage of OPEX dedicated to decarbonization relevant innovation activities | [%] | 1 | 2 | 3 | 3 | 1 | 2 | 3 | 0 | Percentage of OPEX dedicated to decarbonization relevant innovation activities
Decarbonization relevant innovation activities that have become business-as-usual | [Number] | 1 | 1 | 1 | 1 | 1 | 5 | 0 | 0 | Decarbonization relevant innovation activities that have become business-as-usual
Scoring methodology
|  |  | 1 | No info available/found
|  |  | 2 | Low detailed information/low availability
|  |  | 3 | Moderate detailed information/ moderate availability
|  |  | 4 | High detailed information/high availability
|  |  | 5 | Very high detailed information/very high availability
| no data available | low/medium data availability | high data availability
[TRANSPORT] Operation or facilitation of low carbon gases fueling stations connected to the grid | 2 | 3 | 0
[HEATING] Grid level facilitation of dual energy systems | 3 | 2 | 0
[HEATING] The percentage of low carbon gases injected and/or blended in the grid defined as: total volumes of low carbon gas divided by total volumes of gas delivered through the grid in one calendar year. | 0 | 1 | 4
[FLEXIBILITY & STORAGE] DSO level power to gas projects for flexibility | 0 | 5 | 0
[FLEXIBILITY & STORAGE] Non-pipeline alternatives | 5 | 0 | 0
[INDICATIVE PLANNING] Updated indicative planning process taking into account injections of low-carbon gases and electrification with a view for optimizing CAPEX between electricity and gas for system decarbonization | 0 | 1 | 4
[INNOVATION] Percentage of OPEX dedicated to decarbonization relevant innovation activities | 2 | 3 | 0
[INNOVATION] Decarbonization relevant innovation activities that have become business-as-usual | 5 | 0 | 0